| Project Name: |  |  |  |
| --- | --- | --- | --- |
| Region Contract No.: |  | Contractor: |  |
| Date: |  |  |  |

| Equipment |  |  |  |
| --- | --- | --- | --- |
| Process Area |  |  |  |
| Specification/Drawing Reference |  |  |  |
| Tag No. |  |  |  |
| Manufacturer/Supplier |  |  |  |
| Model |  |  |  |
| Serial Number |  | Date Received |  |
| Shop Drawing No. |  | Date Installed |  |
| Shop Drawing Status |  | Date Inspected/ Verified by Manufacturer |  |

Legend:

(A) Inspected and found acceptable	(B) Inspected, found defective

(C) Not inspected	(D) Not Applicable

|  | INSTALLATION | A | B | C | D |
| --- | --- | --- | --- | --- | --- |
| 1 | Foundation or Base |  |  |  |  |
| 2 | Mounting Bolts |  |  |  |  |
| 3 | Couplings, belts, chains |  |  |  |  |
| 4 | Shaft Alignment |  |  |  |  |
| 5 | Gaskets |  |  |  |  |
| 6 | Motor Megger |  |  |  |  |
| 7 | Motor Rotation |  |  |  |  |
| 8 | Supply/Starter Fuse Size |  |  |  |  |
| 9 | Supply/Starter O/L Size |  |  |  |  |
| 10 | Interlock Checked |  |  |  |  |
| 11 | Grounding Installation |  |  |  |  |
| 12 | Cable or Conduit Installation |  |  |  |  |
| 13 | Alignment/Level |  |  |  |  |
| 14 | Removal of Shipping Oil/Rust Preventative/Wrappings |  |  |  |  |
| 15 | Interior Connected Piping Free of Debris |  |  |  |  |
| 16 | Initial Lubrication |  |  |  |  |
| 17 | Equip. Safety Devices and Guards |  |  |  |  |
| 18 | Free Rotation of Shafts |  |  |  |  |
| 19 | Belt or Chain Drives, Couplings |  |  |  |  |
| 20 | All Equip. Access. Installed and Functioning Correctly (gauges/drains/pressure relief valves/seal water, etc.) |  |  |  |  |
| 21 | Devices Requiring MCCR Canadian Reg.# (Identify with #) |  |  |  |  |
| 22 | Operation and Maintenance Manuals Rec’d |  |  |  |  |
| 23 | Spare Parts Received |  |  |  |  |
| Remarks: |  |  |  |  |  |

|  | START UP OF EQUIPMENT | A | B | C | D |
| --- | --- | --- | --- | --- | --- |
| 1 | General Condition |  |  |  |  |
| 2 | Bearing Temperature |  |  |  |  |
| 3 | Seals, Packing |  |  |  |  |
| 4 | Valves, Check valves |  |  |  |  |
| 5 | Connecting Rods |  |  |  |  |
| 6 | Couplings |  |  |  |  |
| 7 | Flights, Scrapers |  |  |  |  |
| 8 | Safety Hazards |  |  |  |  |
| 9 | Lubrication |  |  |  |  |
| 10 | Seal Lubrication |  |  |  |  |
| 11 | Shafting, Universal |  |  |  |  |
| 12 | Clutch |  |  |  |  |
| 13 | Gear Drives |  |  |  |  |
| 14 | Control – Local Run |  |  |  |  |
| 15 | Control – Remote Run |  |  |  |  |
| 16 | Paint Condition |  |  |  |  |
| 17 | Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received |  |  |  |  |
| Remarks: |  |  |  |  |  |

| Inspection Result (Check option that applies) | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

| Contractor’s Signature |  | Inspector’s Signature |
| --- | --- | --- |
| Date |  | Date |