| Project Name: |  |  |  |
| --- | --- | --- | --- |
| Region Contract No.: |  | Contractor: |  |
| Date: |  |  |  |

| Equipment: |  |
| --- | --- |
| Make/Model: |  |
| Tag #: |  |
| Specification/Drawing Reference: |  |
| Shop Drawing No.: |  |
| Shop Drawing Status: |  |
| Date Received: |  |
| Date Installed: |  |
| Date Verified by Manufacturer: |  |

| Body | Checked By (Initial) | Date | Remarks |
| --- | --- | --- | --- |
| VALVE Identification |  |  |  |
| Type/Body Size |  |  |  |
| Port Size/End Connection |  |  |  |
| Trim Form |  |  |  |
| Packing/Stem Seal Adjustment |  |  |  |
| Lubrication |  |  |  |
| Exterior Finish |  |  |  |
| ACTUATOR |  |  |  |
| Type/Body Size |  |  |  |
| Open At/Close At |  |  |  |
| Fail Position |  |  |  |
| Handwheel/Manual Override Position Indicator |  |  |  |
| Open/Closed Position Stop Adjustment |  |  |  |
| POSITIONER |  |  |  |
| All Assess. Installed and Functioning Correctly (Filter/Regulator, Gauge, Bypass, etc.) |  |  |  |
| Input Signal/Output Signal |  |  |  |
| Calibration |  |  |  |
| OTHER – Positioning Indicating Switch Adjustment |  |  |  |
| Feedback Potentiometer Calibration |  |  |  |
| Devices Requiring MCCR Canadian Reg# (Identify with #) |  |  |  |
| Operation & Maintenance Manuals Received |  |  |  |
| PERFORMANCE – Manufacturer’s Rep in Attendance |  |  |  |
| Maximum Flow |  |  |  |
| Value % Open @ Max Flow |  |  |  |
| Inlet Pressure @ Max Flow |  |  |  |
| Pressure Drop @ Max Flow |  |  |  |
| Minimum Flow |  |  |  |
| Valve % Open @ Min Flow |  |  |  |
| Inlet Pressure @ Min Flow |  |  |  |
| Pressure Drop @ Min Flow |  |  |  |
| Relief Pressure (Safety Valves) |  |  |  |
| Reseating Pressure (Safety Valves) |  |  |  |
| Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received |  |  |  |
| *Indicates (N/A) if not applicable |  |  |  |
| COMMENTS: |  |  |  |

| Contractor’s Signature |  | Inspector’s Signature |
| --- | --- | --- |
| Date |  | Date |

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

Refer to Region’s PAIDS Manual for electrical/instrumentation control for actuators.

| Contractor |  | Supplier |
| --- | --- | --- |
| Date |  | Date |
| Consultant |  | Region/Operator |
| Date |  | Date |