| Project Name: |  |  |  |
| --- | --- | --- | --- |
| Region Contract No.: |  | Contractor: |  |
| Date: |  |  |  |

| Equipment |  |  |  |
| --- | --- | --- | --- |
| Process Area |  |  |  |
| Specification/Drawing Reference |  |  |  |
| Tag No. |  |  |  |
| Manufacturer/Supplier |  |  |  |
| Model |  |  |  |
| Serial Number |  | Date Received |  |
| Shop Drawing No. |  | Date Installed |  |
| Shop Drawing Status |  | Date Inspected/ Verified by Manufacturer |  |

| Installation | Checked By (Initial) | Date | Remarks |
| --- | --- | --- | --- |
| Wiring/Conduit Termination |  |  |  |
| Tagging Nameplates |  |  |  |
| Fuse/Overload Ratings Checked |  |  |  |
| Drive Properly Grounded |  |  |  |
| Signal and Input/Output Power Wiring Run in Separate Conduits |  |  |  |
| Direction of Motor Rotation |  |  |  |
| Input Voltage |  |  |  |
| Speed Control Signal |  |  |  |
| Output Voltage |  |  |  |
| Horsepower Rating |  |  |  |
| Max Speed Setting |  |  |  |
| Min Speed Setting |  |  |  |
| Acceleration Rate Setting |  |  |  |
| Deceleration Rate Setting |  |  |  |
| Operation and Maintenance Manuals Submitted |  |  |  |
| Spare Parts Rec’d |  |  |  |
| START-UP – (Manufacturer’s Rep. in Attendance) |  |  |  |
| Performance per Spec/Data Sheet (Identify) |  |  |  |
| Manual Start/Stop |  |  |  |
| Auto Start/Stop |  |  |  |
| Manual Speed Selection |  |  |  |
| Auto Speed Selection |  |  |  |
| Drive Run/Fault Indication |  |  |  |
| Duration of Initial Run (min. 1 hour) |  |  |  |
| Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received |  |  |  |
| *Indicates (N/A) if not applicable |  |  |  |

| SPEED | MOTOR VOLTAGE | MOTOR CURRENT | MOTOR FREQUENCY |
| --- | --- | --- | --- |
| Comments: |  |  |  |

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

| Contractor’s Signature |  | Inspector’s Signature |
| --- | --- | --- |
| Date |  | Date |