## Sheet1
APPROVED PRODUCTS LIST - ROADS (Updated May 2025)
Product | Type | Specifications | Manufacturer | Description/Model | Comments
Main Line Non-Pressure Pipe | Polyvinyl Chloride (PVC) Solid Wall 250mm ø to 375mmø inclusive | CSA B182.2 ASTM D 3034 DR 35 minimum Minimum pipe stiffness - 320 kPa | Ipex Inc. | Ring Tite
|  |  | West Lake Pipe | Gasketed Sewer Pipe
|  |  | Diamond Pipe | Sani-21 | Rubber gasket bell and spigot joints
|  |  | Groupe Brunet | Duraloc
|  |  | National Pipe & Plastics Inc. | Ever-Green
| Polyvinyl Chloride (PVC) Solid Wall 450mm ø and larger | CSA B182.2, ASTM F679 (T-1) ASTM D 3034 -24 DR 35 minimum Minimum pipe stiffness - 320 kPa | Ipex Inc. | Ring Tite
|  |  | Groupe Brunet | Duraloc | Fittings ASTM F679 (T-1)
|  |  | National Pipe & Plastics Inc. | Ever-Green | Rubber gasket bell and spigot joints
|  |  | West Lake Pipe | Gasketed Sewer Pipe
| Polyvinyl Chloride (PVC) Profile (Ribbed) Wall 200mm ø to 450mm ø inclusive | CSA B182.4 ASTM F-794 Minimum pipe stiffness - 320 kPa | Ipex Inc. | Ultra-Rib | Rubber gasket bell and spigot joints
| Concrete up to and including 900mm ø | CSA A257.2 OPSS 1820 |  |  | Manufactured at a prequalified plant and marked with a "Prequalification Stamp" (triangular symbol)
| Concrete larger than 900mm ø | CSA A257.2 Joints - CSA A257.3 OPSS 1820 |  |  | Manufactured at a prequalified plant and marked with a "Prequalification Stamp" (triangular symbol)
| High Density Polyethylene (HDPE) | ASTM F894 CSA B182.8 Minimum pipe stiffness - 320 kPa | Infra Pipe Solutions | Weholite
|  |  | Armtec | BOSS 2000 | Smooth outer and smooth inner wall
|  |  | Soleno Inc | Solflo Max | To be installed through MH's in a continuous fashion per manufacturers recommendations
|  |  | ADS/Hancor | N-12 ST/WT
Culvert Pipe | High Density Polyethylene (HDPE) Concrete Pipe Box Culvert | ASTM F894 ASTM D3350/AASHTO M294 Minimum Pipe Stiffness - 320 kPa CSA B182.8 | Infra Pipe Solutions | Weholite
|  |  | Soleno Inc | Solflo Max
|  |  | ADS/Hancor | N-12 ST/WT
|  |  | Armtec | BOSS 2000
Subdrain | Corrugated High Density Polyethylene | ASTM F405/AASHTO M-252 BNQ 3624-115 ASTM F667/AASHTO M294 | ADS/Hancor | ADS Highway Pipe
|  |  | Soleno Inc | Solflo Drain
|  |  | DMX Plastics | DMX Flextube
| 100mm -600mm Polyethylene Pipe | ASTM F405 | DMX Plastics | DMX Polyethylene Storm Pipe
Service Connections | Polyvinyl Chloride (PVC) Solid Wall | CSA B182.1 ASTM D 3034 Fittings - ASTM D 3034 Minimum pipe stiffness - 630 kPa (SDR 28) |  |  | Rubber gasket bell and spigot joints White in colour
Adaptor Couplings |  |  | Rollee | Kwik Coupling
|  |  | Mission Rubber Co. | Adjustable Repair Couplings (ARC)
|  |  | Preper-PLS | Preper
Repair Clamps |  | CSA B 602 | Rollee | Kwik Coupling
|  |  | Mission Rubber Co. | Flex-Seal - ARC
|  |  | Cambridge Brass | Series 425
|  |  | Romac Industries | SS Repair Clamp
Precast Maintenance Hole and Components | Concrete | CSA A257.4 ASTM C-478 OPSS 1351 | Con Cast Pipe |  | Includes precast drop structure
Omni Precast
Rinker Materials
Decast
| Pre-Benched | same as Concrete | Con Cast Pipe |  | For 200mm and 250mm inlet and outlet pipes only
Precast Catch Basins | Concrete | OPSS 1351 OPSD 702.040 | Con Cast Pipe
Rinker Materials
Decast
Maintenance Hole Frame and Cover | Standard | OPSD 401.01 - Type A, no lugs | EJ
Bibby Ste. Croix
Sigma Corp.
Conqueror BMI
Cedar Infrastructure Products
|  | OPSD 401.03, no lugs | Conqueror BMI
Bibby Ste. Croix
Cedar Infrastructure Products
EJ
Catch Basin Frame and Cover | Curb Inlet | OPSD 400.082 | Cedar Infrastructure Products
Conqueror BMI
Domcast
EJ
Star Pipe
Bibby Ste. Croix
| Perforated Openings | OPSD 400.100 | Cedar Infrastructure Products
Conqueror BMI
EJ
Star Pipe
Bibby Ste. Croix
Maintenance Hole / Catch Basin Adjusment Units | Pre-Cast Concrete | OPSS 1853 | Decast
|  |  | Rinker Materials | Moduloc
| Shims | HDPE | Ken Taylor Industries | Structure Shims
| Polyethylene | OPSD 704.011 | Ipex | Lifesaver
Noise Walls | Precast Concrete | CSA A23.1 and A23.4 35 MPa at 28 days (min) | Design Concrete Inc. | International Fence | Retaining wall integration Accessories (post facings)
|  |  |  | Sound by Design | Retaining wall integration, Accessories (post facings, gates, doors, access hatches)
| Vinyl |  | Homeland Vinyl Fence
| Composite Systems | Concrete / Wood Chip | Durisol Ltd. | NB12, NB15, NB24 | Absorptive panels Retaining wall integration, transparent panel integration Accessories (post facings, gates, doors, access hatches)
| Wood | Western Red Cedar
Tactile Walking Surface Indicator | Cast Iron | ADA and ABA guidelines R304.1 Measured static coefficient of friction (dry and wet) of 0.9min Plate thickness of 8mm min ASTM A-48 Class 35B min | EJ | * Quick Connect Plates | Std Dwg 5-2-16B
|  |  | Cedar Infrastructure Products LP | * Bolted Plates | * Bare (not coated with paint or other coating materials)
|  |  | Neenah Foundry | * Radius Plates
* Electrical Conduit, Handwells and all other electrical signalling components must comply to the latest OPSS and Contract documents Vol. 2.5